## About
TCAMRB Transmission Capacity Across Modeled Region Border | Wyoming
Sources: | Mexico-U.S. Interconnections
Transmission & Distribution World
2011
TransAmerica Interconnections
http://tdworld.com/overhead-transmission/transamerica-interconnections
Under "Existing U.S.-Mexico Interconnections" header
Mexico and Canada Imports and Exports
Energy Information Administration
2022
Electric Power Annual 2022 (with data for 2021)
https://www.eia.gov/electricity/annual/
Table 2.14

## Calculations
Mexico
Utility / Area | MW
Southern California Edison | 800
El Paso Electric Co | 200
American Electric Power Texas | 36
Laredo, TX | 100
Sharyland Utilities LP | 150
Total | 1286
We cannot find any source that explicitly provides the capacity of transmission lines
to/from Canada. The closest we can find is a diagram showing the voltage ratings
of the 37 main interconnections between the U.S. and Canada in kV.
(Canadian Electricity Association, "The Inegrated Electric Grid," p. 6)
http://www.electricity.ca/media/pdfs/CanadaUS/CEA_US%20Policy%20Paper_EN.pdf
Accordingly, we will assume that interconnection capacity is proportionate to total
imports and exports, and we will scale up Mexico's number propotionately to obtain
an estimate for Canada. We will use data from 2010-2012 because imports from Mexico
in 2013 appears to be an outlier and might be an error.
Imports + Exports to Mexico (2010-2012) | 10649078
Imports + Exports to Canada (2010-2012) | 208271744
Estimated Interconnection Capacity to Canada | 25151.235 | MW

## EIA Table 2.14
Table 2.14. Electric Power Industry - U.S. Electricity Imports from and Electricity Exports to Canada
and Mexico, 2011-2021 (Megawatthours)
| Canada |  | Mexico |  | U.S. Total
Year | Imports from | Exports to | Imports from | Exports to | Imports | Exports
2011 | 51075952 | 14398470 | 1223758 | 650082 | 52299710 | 15048552
2012 | 57971110 | 11392267 | 1285959 | 603382 | 59257069 | 11995649
2013 | 62739038 | 10694907 | 6207597 | 678300 | 68946635 | 11373207
2014 | 59369660 | 12860889 | 7140624 | 437364 | 66510284 | 13298253
2015 | 68462277 | 8707873 | 7308192 | 392016 | 75770469 | 9099889
2016 | 65173818 | 2682381 | 7542445 | 3531636 | 72716263 | 6214017
2017 | 59909320 | 3312798 | 5775597 | 6058005 | 65684917 | 9370803
2018 | 51494627 | 7290070 | 6765975 | 6514422 | 58260602 | 13804492
2019 | 52309254 | 13532067 | 6743207 | 6475965 | 59052461 | 20008032
2020 | 57001240 | 9855106 | 4447623 | 4279573 | 61448863 | 14134679
2021 | 48140438 | 10067396 | 5026570 | 3788022 | 53167008 | 13855418
Notes: As of November 2017, the data for 2016 and going forward will be published using data from the Form EIA-111, "Quarterly Electricity Imports and Exports Report." During 2013-2015, EIA revised its approach to estimating imports from Mexico. Sources: 2016-2021, U.S. Energy Information Administration, Form EIA-111, "Quarterly Electricity Imports and Exports Report"; 2006-2015 data, National Energy Board of Canada; FERC 714, Annual Electric Balancing Authority Area and Planning Report; California Energy Commission; and EIA estimates.

## TCAMRB
Transmission Capacity Across Modeled Region Border (MW)
MW | 26437.235